## Slide 1: Sustainable Construction at HFB
Eliah Mallants
Consulent duurzaam bouwen
Het Facilitair Bedrijf
4 juli 2024

## Slide 2: Sustainability

## Slide 3: Sustainability: high on our agenda
Smart energy management:
  Spectacular drop in primary energy consumption
ISO 14001: environmental management
To become the most circular facility service provider in Flanders:
  Belpaire building, circular coffee bar, circular paper
Sustainable mobility

## Slide 5: HFB: active partner in the field of sustainability in the construction sector
Technical Committee 'Smart and sustainable buildings' (WTCB) Smart buildings in use (WTCB) Green Deal Circular Construction: pilot project, compas group Living Lab Circular Concrete …

## Slide 6: Sustainable and circular ...
Environment
Footprint Biodiversity Mobility Synergies
Building
Environmental impact Energy, water,... Safety
Circular
Closed loops Value retention Added value
User
Comfort Accessibility Wellbeing
Operations
Manageable Profitable Adaptable
What does sustainable (and circular) mean to us?

## Slide 7: HFB as client
Assignments – annual budget: fluctuates between 110 – 170 million euros
Examplary function
Challenging the market

## Slide 8: Influence of the client

## Slide 9: From ambition to assignment
Project description
Vision Ambition Performance requirements Priorities …
Procedure
Fit for specific project
Assessment
What is mandatory? What is scored?
Qualitative <> quantitative
GRO
Classic tender split design team / contractor Design & Build …
Project-specific approach requested with examples.
Notes: Opdracht-omschrijving: GRO, circulair, ..
Procedure: Klassiek: aanstelling ontwerpteam/uitvoerder, Design & Build, Geïntegreerde opdrachten/bouwteam
Beoordeling: Projectspecifieke aanpak gevraagd met voorbeelden.

## Slide 10: How do we realise our ambitions?

## Slide 11: Ambition to specifications
Minimum requirements:
Area requirement Location Requirement Accessibility Energy Sustainability Timing
Score:
Quality Total cost (incl. maintenance) Location
Achievable
Challenge the market

## Slide 12: Circular procurement
To enable circularity in terms of Procedure
  Ability to negotiate Other forms of cooperation (integrated assignments or construction team)
Project description
  Performance-oriented description instead of solution-oriented Functional/activity-oriented instead of m² and spaces

## Slide 13: Ambition: energy
Feasible in an urban context?  Simulation Material impact versus energy?  TOTEM Translation to specifications
  Minimum GRO requirement 'excellent' (> 20% better than the legislation) Energy neutrality as a score criterion (the closer to energy neutral, the better)
  Target: Energy-neutral
  GRO ‘excellent’
  Energy-positive
  Optimum
  Minimum (must have)

## Slide 14: Ambition: sustainable and circular construction
Bottlenecks
Few reference points for what is feasible Guarantees, certificates, etc. for the reuse of materials? Dismantling <> performance requirements (e.g. acoustics, fire safety) Measuring ‘sustainability’ …
  Reuse, C2C, low-emission, change-oriented, demountable, closed water cycle, zero waste, ...
  GRO 'better'
  100%
  Optimum
  Minimum

## Slide 15: Circularity in specifications
  Score criterion Circularity
  Circular building concept Material impact Dismantling Reuse after EOL Contractual agreements
  GRO 'better' TOTEM Material Passport BIM BOM
  100%
  Optimum
  Minimum
   qualitative and quantitative aspects

## Slide 16: Material passport as a tool
Origin of the materials
Preserved, reused, new, ... Certifications
Material with label? On which aspects (health, recycled materials, reuse in the future, others)? What level?
Harmful substances
% stricter than legislation for materials in contact with indoor air
Design for disassembly
10 principles of Design for Disassembly (cfr. Brad & Ciarimboli)
Burden of proof

## Slide 18: GRO is our building sustainability instrument
for all functions
for all sizes
Separate rating of building / site

## Slide 19: Goals
Raise awareness
  Entire life cycle Circular principles Climate-responsive design
Requirements
  Qualitative criteria Quantitative criteria
Assessment
  Continuous follow-up and evaluation

## Slide 20: Documentation
Overviewfile
Criteria manual
Attachments

## Slide 21: Building criteria
People
Planet
Profit

## Slide 22: Site criteria
Mobility
Society
Environment

## Slide 23: Breeam - GRO
Breeam
  Certification Third-party evaluation Commercial Site and building together
  Method depends on function
GRO
  No certification Self-evaluation by the client Free to use Site and building separate Usable for all functions and scales

## Slide 24: Linking GRO criteria – SDG goals
How well are the SDG goals represented in GRO?
SDG goals
  Number of links with the GRO criteria

## Slide 25: Analysis – which SDGs are most represented
3 – Health and well-being (indoor comfort, social safety, impact on the environment,...)
11 – Sustainable cities and communities (heritage, social safety, land use, adaptability, mobility, urban planning,...) 12 – Responsable consumption and production (waste prevention, water, site management, adaptability,...) 13 – Climate action (energy, CO2, choice of materials,...) 15 – Life on land (biodiversity, FSC wood,...) 7 – Affordable and clean energy (energy, maintenance,...)

## Slide 26: Analysis – which SDGs are not represented
1 – No poverty through cooperation SIOD, public procurement, clauses on human rights violations (in specifications?), guide against social dumping 2 – Zero hunger in operation of a building (restaurant) but is not part of the design to be assessed. Possibly for GRO-in-use 4 – Quality education through HFB's HR policy. Possibly does the sensitizing character of GRO fall under this? 5 – Gender equality Gender neutrality is defined functionally, not through GRO 10 – Reduced inequalities through anti-discrimination clauses 16 – Peace Transparent operation, awareness-raising, communication 17 – Partnership Cooperation

## Slide 27: Evolution GRO
2017
2019
2020/2020.1
3 regions

## Slide 28
Intergewestelijk

## Slide 30: Marie-Elisabeth Belpairegebouw

## Slide 31
Circular concept
Urban mining
Circular use of materials
Circular procurement

## Slide 32: Circularity on different scales

## Slide 33: From mono to multifunctional
Afbeelding: 51N4E/Jaspers-Eyers/L’AUC
Neighborhood dominated by offices

Lively plinth No front/backside, multiple addresses Publicly accessible greenhouse Polyvalent use Main functions: office, residential, hotel

## Slide 34: Neutrality
Hybrid building
Variable distribution of functions
Realised by
Structure as an enabler "Neutral" façade Reversible technical installation
limited changes required for function switch
Afbeeldingen: 51N4E/Jaspers-Eyers/L’AUC

## Slide 35
Afbeeldingen: 51N4E/Jaspers-Eyers/L’AUC
Structure of the building
(GRO TOE1)

## Slide 36: The structure as an enabler
New floor slabs: getting rid of potential limitations for the future Circulation cores: working for different scenarios, separate flows Capacity of stairs: often determines occupancy of non-residential Volume capable: flexibility due to excess height

## Slide 37: Reversible infill
No structural interventions required in the event of a function switch
Afbeeldingen: 51N4E/Jaspers-Eyers/L’AUC

## Slide 38: Reversible infill
Floor construction
Original: identical (dry) floor construction Not possible due to insulation requirement In façade design, different heights, floor structure and rhythm taken into account in relation to office and homes
Afbeeldingen: 51N4E/Jaspers-Eyers/L’AUC
Notes: Lukt niet met EPB-eisen:
tussen wooneenheden en ruimten met een andere bestemming : 0,6

## Slide 39: Reversible infill
HVAC
Concept works for both (non-)residential functions
Anticipating difference in ventilation rate residential / non-residential
  Reduce simultaneous occupancy Replacement of the air handling unit
Elevator accesses can be adjusted
Very limited impact on electricity
Notes: Pulsie aan de gevel, extractie aan de kern, verwarming en koeling via klimaatplafonds.
De kanalen hiervoor zitten zowel in de schachten ter hoogte van de kern als de ventilatieschachten aan de gevel reeds klaar aangezien de nieuwe verdiepingen tussen de reeds geïnstalleerde verdiepingen in zitten. Van deze hoofdkanalen wordt afgetakt.

## Slide 40: Façade design
Finding a balance between
  Daylight Overheating Glare View out Energy generation (BIPV) Function neutrality
And other requirements such as
  Insulation Fire safety Wind force Maintenance Safety Aesthetics …
Afbeelding: 51N4E/Jaspers-Eyers/L’AUC
Notes: Lukt niet met EPB-eisen:
tussen wooneenheden en ruimten met een andere bestemming : 0,6

## Slide 41
Façade design central zone
Afbeeldingen: 51N4E/Jaspers-Eyers/L’AUC

## Slide 42
Façade design towers
Afbeeldingen: 51N4E/Jaspers-Eyers/L’AUC

## Slide 43: Façade - use of materials
Aluminium profiles: C2C Silver Aluminum panels: C2C Silver Glass: C2C Bronze/Silver Blinds: C2C Silver

## Slide 44: Urban mining
Analysis & inventory
  What and where? In what quantity and condition? What is the reuse potential:
Preserve
Reuse
Recycling
Demolition vs. preservation
Dismantling
Afbeelding: 51N4E/Jaspers-Eyers/L’AUC

## Slide 45: Demolition vs Preservation in Belpaire
Preservation of floorslabs
  Limited load-bearing capacity reinforcement would be necessary Restrictions in terms of fire safety, acoustics, free height, etc.
Conclusion
  Too many technical limitations Limitation of adaptability in the future Difference in material impact limited (LCA)
Afbeelding: HFB
Afbeelding: 51N4E/Jaspers-Eyers/L’AUC

## Slide 46: Inventories
(GRO MAT1)

## Slide 47: Dismantling
And storage
Afbeeldingen: Befimmo

## Slide 48
Material flows
Afbeelding: 51N4E/Jaspers-Eyers/L’AUC

## Slide 49: Reuse potential
Preservation 65% Structure (core + basement)
Reuse 1% Mineral wool, natural stone, Raised floors,…
Recycling 30% Glass, aluminium, concrete
Landfill 5% Hazardous substances (asbestos)

## Slide 50: Repurposed materials
(in/ex situ: 1% of total building weight)
Insulation (20.000 m2), 66 ton
Carpet Tiles (6.800m2), 41 ton
Partition wood panels (40.000m2), 475 ton
Roof Tiles (4.975m2), 636 ton
Raised Floors (6.800m2), 240 ton
Wood Panels (2.860 stucks), 36 ton
Mineral Tiles (35.000m2), 78 ton
Flatglass (14.000m2), 577 ton
Stone Tiles (1.800m2), 123 ton
Furnitures 59 ton
Afbeeldingen: Befimmo

## Slide 51: Convector casing
Afbeeldingen: Befimmo

## Slide 52
Suspended ceilings
Afbeeldingen: Befimmo

## Slide 53: Recycling
Slight shift from reuse to recycling
Reuse as greenhouse glass
Main flows
Aluminium Glass Concrete
(30% of the total weight of the existing building)

## Slide 54: Glass recycling
Original ambition
Reuse as greenhouse glass
Technology & Impact
Existing recycling process Saving raw materials (sand) Energy saving
Point of attention
An unpolluted glass batch has more value Glass must be clean before recycling (difficult with broken glass)
Afbeelding: Befimmo

## Slide 55: Paradigm shift

## Slide 56: Rethinking our questions
Ask for solutions
Working in a team, developing a solution (or even program) together
Evolution from classic tendering procedures design & build formulas
Evolution from investment cost to life cycle cost
"We require lighting"
"We want adequate light in every room".

## Slide 57: Knowledge
Circular construction requires both broad knowledge and detailed knowledge in order to
devise integrated solutions to be able to estimate what is feasible Detect risks …
© KaryaSarma

## Slide 58: Reality check
Little experience regarding the feasibility of certain aspects. For example:
Reuse in/ex situ Certification of (non-standardized) materials Alternative construction methods How can it be disassembled? How circular does it need to be?
Measurability
Tools such as GRO, TOTEM, simulations, ...
Not everything is measurable  common sense and judgement

## Slide 59: Sustainable collaboration
Trust is the key to success Dare to question things Open communication Expertise at the table

## Slide 60: Circular concrete

## Slide 61: Circular concrete
Concrete is the most widely used building material on earth Average CO2 emissions
  Excl. sand and gravel: ~ 155 kg CO2/m³ concrete Incl. sand and gravel: ~ 160 kg CO2/m³ concrete
80% of CO2 emissions are related to cement

## Slide 62: Concrete in the Belpaire building

## Slide 63: The ‘new’ concrete
Recycled concrete aggregates A+ for floors Originating from the existing building, broken in Brussels cement CEM III where possible

## Slide 64: Aggregates
30,000 tonnes demolished concrete  3,500 tonnes A+ granulate 30,000 tonnes of ‘recycled' concrete
Sampling
Test cubes
Crushing concrete

## Slide 65: Cradle-to-cradle concrete
A first in the Benelux: cast-in-place concrete (CCB)
  Cradle-to-cradle – Silver
Precast concrete elements (Ergon, Prefaco)
  Cradle-to-cradle - Silver

## Slide 66: Living Lab Circular Concrete
HFB participates in living labs with several pilot projects

## Slide 67
<<<<<<<<<<<<<<<<<<<<<<<<<<<<<<<<<<<
Questions?